## Slide 1: Modeling Gamma-Ray Attenuation and Transmission
Darrell Stepter

## Slide 2: MOTIVATION: Gamma “Heat Map” produced by LAMP on drone
Unmanned Search Technology Demonstration at Camp Roberts
Unknowns:
Source
Source Activity
Source Location
Building Geometry
Building Materials
This image generated two questions?
How do we know this is correct?
Can we differentiate between attenuated/transmitted and scattered gammas?
Can we use this information to calculate Source Activity and Location?
*Photo provided by Andrew Haefner

## Slide 3: METHODOLOGY: Model and Validate in a Controlled Scenario
Model:
Build accurate model eliminating unknowns (Source, Activity, Location, Geometry, and Materials
Run simulation to calculate instantaneous flux at detector.
  Answers Question #1
Vary simulation geometry (i.e. remove walls or ground) and compare results to examine gamma attenuation/transmission and scattering
  Answers Question #2
Validation:
Mathematically validate model using known flux/count-rate equations
Conduct real world measurement using same parameters
PROBLEM: No control, access, blueprints, material information for Camp Roberts
SOLUTION: Use surrogate building

## Slide 4: SURROGATE BUILDING: BLDG 100 at Richmond Field Station
Pros:
Control
Known Geometry
Cons:
Unknown Building Materials*
Unknown understructure
Measurement Error
*PNNL Compendium of Material Composition Data for Radiation Transport Modeling (2011) used for all materials
*Other materials (paint, grass, etc.) not modeled

## Slide 5: GEOMEGA MODEL: BLDG 100 at Richmond Field Station
Top View of floor plan
Modeled source location as laying on floor, 2’ from SW corner of building, with the detector plane 3’ outside building, normal to source. This allows model to ignore understructure, roof superstructure, and extraneous items located in building.

## Slide 6: GEOMEGA MODEL: Detector Array
X1 | X2 | X3 | X4 | X5 | X6 | X7 | X8 | X9 | X10 | X11 | X12 | X13 | X14 | X15 | X16 | X17 | X18 | X19 | X20 | X21 | X22 | X23 | X24
W1 | W2 | W3 | W4 | W5 | W6 | W7 | W8 | W9 | W10 | W11 | W12 | W13 | W14 | W15 | W16 | W17 | W18 | W19 | W20 | W21 | W22 | W23 | W24
V1 | V2 | V3 | V4 | V5 | V6 | V7 | V8 | V9 | V10 | V11 | V12 | V13 | V14 | V15 | V16 | V17 | V18 | V19 | V20 | V21 | V22 | V23 | V24
U1 | U2 | U3 | U4 | U5 | U6 | U7 | U8 | U9 | U10 | U11 | U12 | U13 | U14 | U15 | U16 | U17 | U18 | U19 | U20 | U21 | U22 | U23 | U24
T1 | T2 | T3 | T4 | T5 | T6 | T7 | T8 | T9 | T10 | T11 | T12 | T13 | T14 | T15 | T16 | T17 | T18 | T19 | T20 | T21 | T22 | T23 | T24
S1 | S2 | S3 | S4 | S5 | S6 | S7 | S8 | S9 | S10 | S11 | S12 | S13 | S14 | S15 | S16 | S17 | S18 | S19 | S20 | S21 | S22 | S23 | S24
R1 | R2 | R3 | R4 | R5 | R6 | R7 | R8 | R9 | R10 | R11 | R12 | R13 | R14 | R15 | R16 | R17 | R18 | R19 | R20 | R21 | R22 | R23 | R24
Q1 | Q2 | Q3 | Q4 | Q5 | Q6 | Q7 | Q8 | Q9 | Q10 | Q11 | Q12 | Q13 | Q14 | Q15 | Q16 | Q17 | Q18 | Q19 | Q20 | Q21 | Q22 | Q23 | Q24
P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | P9 | P10 | P11 | P12 | P13 | P14 | P15 | P16 | P17 | P18 | P19 | P20 | P21 | P22 | P23 | P24
O1 | O2 | O3 | O4 | O5 | O6 | O7 | O8 | O9 | O10 | O11 | O12 | O13 | O14 | O15 | O16 | O17 | O18 | O19 | O20 | O21 | O22 | O23 | O24
N1 | N2 | N3 | N4 | N5 | N6 | N7 | N8 | N9 | N10 | N11 | N12 | N13 | N14 | N15 | N16 | N17 | N18 | N19 | N20 | N21 | N22 | N23 | N24
M1 | M2 | M3 | M4 | M5 | M6 | M7 | M8 | M9 | M10 | M11 | M12 | M13 | M14 | M15 | M16 | M17 | M18 | M19 | M20 | M21 | M22 | M23 | M24
L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | L9 | L10 | L11 | L12 | L13 | L14 | L15 | L16 | L17 | L18 | L19 | L20 | L21 | L22 | L23 | L24
K1 | K2 | K3 | K4 | K5 | K6 | K7 | K8 | K9 | K10 | K11 | K12 | K13 | K14 | K15 | K16 | K17 | K18 | K19 | K20 | K21 | K22 | K23 | K24
J1 | J2 | J3 | J4 | J5 | J6 | J7 | J8 | J9 | J10 | J11 | J12 | J13 | J14 | J15 | J16 | J17 | J18 | J19 | J20 | J21 | J22 | J23 | J24
I1 | I2 | I3 | I4 | I5 | I6 | I7 | I8 | I9 | I10 | I11 | I12 | I13 | I14 | I15 | I16 | I17 | I18 | I19 | I20 | I21 | I22 | I23 | I24
H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | H9 | H10 | H11 | H12 | H13 | H14 | H15 | H16 | H17 | H18 | H19 | H20 | H21 | H22 | H23 | H24
G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9 | G10 | G11 | G12 | G13 | G14 | G15 | G16 | G17 | G18 | G19 | G20 | G21 | G22 | G23 | G24
F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9 | F10 | F11 | F12 | F13 | F14 | F15 | F16 | F17 | F18 | F19 | F20 | F21 | F22 | F23 | F24
E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10 | E11 | E12 | E13 | E14 | E15 | E16 | E17 | E18 | E19 | E20 | E21 | E22 | E23 | E24
D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | D11 | D12 | D13 | D14 | D15 | D16 | D17 | D18 | D19 | D20 | D21 | D22 | D23 | D24
C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 | C11 | C12 | C13 | C14 | C15 | C16 | C17 | C18 | C19 | C20 | C21 | C22 | C23 | C24
B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | B11 | B12 | B13 | B14 | B15 | B16 | B17 | B18 | B19 | B20 | B21 | B22 | B23 | B24
A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A10 | A11 | A12 | A13 | A14 | A15 | A16 | A17 | A18 | A19 | A20 | A21 | A22 | A23 | A24
Detector Array modeled as 576 1”x1” squares.
Array covers a 4 ft2 plane
Model uses GEOMEGA BlackAbsorber function to simulate full energy deposition and end particle track on detector face.

## Slide 7: EXPECTED VALUES: Mathematical Flux and Count-rate Calculations
Flux:
Where:
Count-rate:
Where:
CR Results: 389.27 (expected) / 369 (simulation)
Simulating 1 𝜇Ci 60Co source, 99.9826% Branching Ratio for 1.33 MeV Gamma, 167.64 cm (5.5ft) distance, and 3716.12 cm2 (4 ft2) Detector Area, and 100% efficiency.
*Morse, Analytical Methods for Nonproliferation, pg. 24
Notes: Flux equation is an approximation with particles traveling in 4𝜋 space and the area of the transit area as 4𝜋R2. However, in reality, the area at R is a square on a spherical surface and the actual area is
Flux equation is an approximation with particles traveling in 4𝜋 space and the area of the transit area as 4𝜋R2. However, in reality, the area at R is a square on a spherical surface and the actual area is 𝐴=𝑅^2 ∫25_(𝜙_1)^(𝜙_2)▒∫25_(𝜃_1)^(𝜃_2)▒〖sin⁡𝜃 𝑑𝜃 𝑑𝜙〗

## Slide 8: EXPECTED VALUES: Mathematical Flux and Count-rate Calculations with Attenuation
Attenuation:
Where:
Count-rate:
CR Results: 371.257 (expected) / 351 (simulation)
Simulating 1 𝜇Ci 60Co source, 99.9826% Branching Ratio for 1.3 MeV Gamma, 167.64 cm (5.5ft) distance, and 3716.12 cm2 (4 ft2) Detector Area, 100% efficiency, 0.005829 Mass Attenuation Coefficient for 1.3 MeV Gamma, 0.64 g/cm3 Density, and 12.7 cm (5 in) Attenuation Length.
*Morse, Analytical Methods for Nonproliferation, pg. 25
*Mass Attenuation Coefficient for Southern Pine from https://physics.nist.gov/PhysRefData/Xcom/html/xcom1.html
*Density of Southern Pine from PNNL Compendium of Material Composition Data for Radiation Transport

## Slide 9: GEOMEGA MODEL: Simulation Geometries
Direct
Attenuated
Direct + Scattered
Complete Geometry

## Slide 10: GEOMEGA MODEL: Simulation Results 30 Second Run – 1110000 Particles Generated
Direct
Attenuated
Direct + Scattered
Complete Geometry

## Slide 11: Lorem Ipsum